Copyright 2019 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to Georgia-Pacific Gypsum LLC ("Licensee").

This independent Product MasterSpec Section uses original MasterSpec text.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Georgia-Pacific Gypsum LLC, 133 Peachtree St., Atlanta, GA 30303; Phone: (800) 225-6119; Website: www.gpgypsum.com; Email: techservices@gapac.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 061656 - AIR- AND WATER-RESISTIVE SHEATHING BOARD

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>

Access Sustainability Content in UL SPOT:

<Double click here to view products with UL Environment certifications.>

Access BIM Content on BIMsmith Market:

<Double click here to view products on BIMsmith Market.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Vapor-permeable, air- and water-resistive wall sheathing.

Site-fluid-applied, vapor-permeable air barrier flashing.

Accessories.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified elsewhere.

Section 042000 "Unit Masonry" for flexible flashing components integrating with transition materials specified in this Section.

Section 042613 "Masonry Veneer" for flexible flashing components integrating with transition materials specified in this Section.

Section 054000 "Cold-Formed Metal Framing" for structural framing support of panels.

[Section 061000 "Rough Carpentry"] [Section 061053 "Miscellaneous Rough Carpentry"] for structural framing support of panels.

Section 061600 "Sheathing" for wall sheathing requirements for portions of the Work not requiring board product air barriers specified in this Section.

Section 072500 "Weather Barriers" for weather barriers, including [building paper] [flexible flashing] [and] [building wraps with air barrier properties].

Division 07 roofing Sections for roof assembly air barriers and interface coordination.

Section 092900 "Gypsum Board" for wall sheathing requirements for portions of the Work not requiring board product air barriers specified in this Section.

DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

Air Barrier Accessory: A transitional component of the air barrier that provides continuity.

Air Barrier Assembly: The collection of ABs and accessories applied to an opaque wall, including joints and junctions to abutting construction, to control air movement through the wall.

Air Barrier Material (AB): Airtight barrier made of material that is air impermeable but moisture vapor permeable, with sealed joints and penetrations, and with terminations sealed to adjacent surfaces.

Material Transitions: Areas where the WRB/AB fiberglass-mat gypsum sheathing connects to beams, columns, slabs, parapets, foundation walls, roofing systems, and at the interface of dissimilar materials.

Rough Openings: Openings in the wall to accommodate windows and doors.

Weather-Resistant Barrier (WRB): Water-shedding barrier made of moisture-resistant material, and installed to shed water, with sealed joints and penetrations, and with terminations sealed to adjacent surfaces.

ADMINISTRATIVE REQUIREMENTS

Coordination:

Coordinate installation of board product air barriers with framing installation and subsequent operations that impact finished envelope air barrier work.

Coordinate installation of joint sealants with cleaning of joint sealant substrates and other operations that may impact installation or finished joint sealant work.

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

Review board product air barrier accessory materials installation, including joints between sheathing boards and transitions to abutting construction including air barrier work of other Sections. Review requirements for forming and sealing penetrations of air barrier by other trades.

Review requirements for each type of air barrier product and installation, Project and manufacturer's details, mockups, testing and inspection requirements, and coordination and sequencing of air barrier work with work of other Sections.

Review manufacturer's written instructions for meeting Project requirements for substrates specified, including three-dimensional video model demonstrating proper application of components at wall openings.

ACTION SUBMITTALS

Product Data: For each type of air barrier product assembly and accessory. Indicate assembly component materials and dimensions and include construction and application details. Include the following:

Framing preparation instructions and recommendations.

Substrate preparation instructions and recommendations.

Air- and water-resistive sheathing board assembly.

Standard drawings illustrating manufacturer's written instructions for installation and finishing applicable to Project, including details for joints, counterflashings, penetrations, terminations, and tie-ins to adjacent construction.

Shop Drawings: For locations and extent of WRB/AB system.

Include details of typical conditions, special joint conditions, and intersections with other building envelope systems and materials.

Include counter flashings and details showing bridging of envelope at substrate changes.

Detail sealing penetrations, and flashing around windows and doors.

Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; and Green Globes. Coordinate with requirements for paints and coatings.

Product Data: For coatings, indicating VOC content.

"Laboratory Test Reports" Subparagraph below applies to LEED 2009 for Schools, LEED v4, IgCC, and Green Globes. Coordinate with requirements for paints and coatings.

Laboratory Test Reports: For coatings, indicating compliance with requirements for low-emitting materials.

Retain first three subparagraphs below to be eligible for LEED v4 credit. See the Evaluations.

"Environmental Product Declaration (EPD)" Subparagraph below applies to LEED v4 (all) MRc, "Building Product Disclosure and Optimization - Environmental Product Declarations." Confirm with manufacturer that EPDs are available for each product.

Environmental Product Declaration (EPD): For each product.

"Health Product Declaration (HPD)" Subparagraph below applies to LEED v4 (all) MRc, "Building Product Disclosure and Optimization - Material Ingredients, Option 1 - Material Ingredient Reporting." Confirm with manufacturer that HPDs are available and comply with requirements of the HPD Open Standard or approved USGBC program.

Health Product Declaration (HPD): For each product.

"Sourcing of Raw Materials" Subparagraph below applies to LEED v4 (all) MRc, "Building Project Disclosure and Optimization - Sourcing of Raw Materials, Option 1 - Raw Material Source and Extraction Reporting." Confirm with manufacturer that corporate sustainability reports are available, have been prepared within the last year or are applicable to the year of production, and are by an organization approved by the USGBC.

Sourcing of Raw Materials: Corporate sustainability report for each manufacturer.

"Product Certificates" Subparagraph below applies to IgCC, which requires that a minimum of 55 percent of building materials or products be extracted, harvested, manufactured, or recovered within 500 miles (800 km) of Project. See IgCC-2012, 505.2.5.

Product Certificates: For indigenous materials, indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include distance to Project, means of transportation, and cost for each indigenous material.

Retain first "Environmental Product Declaration (EPD)" Subparagraph below if products specified in the Section are required to have an EPD to comply with IgCC's requirement of 55 percent recycled materials.

"Environmental Product Declaration (EPD)," "Third-Party Certifications," and "Third-Party Certified Life-Cycle Assessment" subparagraphs below apply to Green Globes v1.4 if products specified in the Section are used to comply with requirements of paragraph 3.5.1.2 "Path B: Prescriptive Path for Building Core and Shell," which requires that a certain percentage of the materials used in the core and shell have EPDs, third-party certifications, and/or third-party life-cycle assessments.

Third-Party Certifications: For each product.

Third-Party Certified Life-Cycle Assessment: For each product.

Chain-of-Custody Certificates: For certified wood products. Include statement of costs.

INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

Qualification Data: For Installer[, testing agency,] and manufacturer.

Manufacturer Product Certificates: Indicate compliance with requirements of specified products in "Performance Requirements" Article or as indicated on Drawings.

Retain "Fire-Propagation Characteristics Certificate" Paragraph below if air barrier is part of a wall assembly required to comply with NFPA 285.

Fire-Propagation Characteristics Certificate: From a qualified testing agency, documentation that air barrier system as a component of a wall assembly has been tested or engineered to pass NFPA 285. Include system classification number of testing agency on Shop Drawings.

Retain "Product Certificates" Paragraph below to require submittal of product certificates from manufacturers.

Product Certificates: Indicate compliance with requirements of specified products in "Performance Requirements" Article or as indicated on Drawings.

Product Test Reports: For each air barrier product, and air- and water-resistive sheathing board assembly, for tests performed by a qualified testing agency.

Sample Warranties: For manufacturer's warranties.

QUALITY ASSURANCE

Manufacturer Qualifications: A qualified air barrier manufacturer experienced in manufacture of air barrier as one of its principal products.

Installer Qualifications: An experienced entity that employs applicators trained in application of specified products.

Retain "Testing Agency Qualifications" Paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

Testing Agency Qualifications: Qualified independent agency experienced in installing specified waterproofing system, and qualified to perform observation and inspection specified in "Field Quality Control" Article to determine Installer's compliance with requirements of this Project. Testing agency to be acceptable to Architect and retained by [Contractor] [Owner].

Mockups: Provide air barrier mockup application within mockups required in other Sections, or if not specified, in an area of not less than 64 sq. ft. (5.9 sq. m) of wall surface where directed by Architect for each type of backup wall construction. Include examples of surface preparation, crack and joint treatment, air barrier application, flashing, transition, and termination conditions. Build mockups to set quality standards for materials and execution.

Include air barrier system tie-in details between walls and roof, and with wall and foundation wall. Include penetrations and openings.

DELIVERY, STORAGE, AND HANDLING

Deliver materials in original, unopened packaging and store in an enclosed shelter providing protection from damage and exposure to the elements.

Store within temperature limits required by manufacturer.

Store air- and water-resistive sheathing board supported on risers on a flat platform.

Comply with manufacturer's written instructions for safety and handling.

Discard liquid materials that cannot be applied within their stated shelf life.

Store accessory materials in a location with constant ambient temperatures of 40 to 80 deg F (4 to 27 deg C).

FIELD CONDITIONS

Cold-Weather Conditions:

Site Fluid-Applied, Vapor-Permeable Joint Flashing: Comply with manufacturer's cold-weather application written instructions when atmospheric temperatures or substrate surface temperatures are less than 40 deg F (4 deg C).

Accessories and Sealants: Comply with manufacturer's cold-weather application written instructions when atmospheric temperatures or substrate surface temperatures are less than 40 deg F (4 deg C).

Exposure: Comply with manufacturer's limitations on exposure of applied product.

Do not apply air barrier joint flashing to sheathing surface that is frozen or has frost.

Protect adjacent substrates from environmental conditions that affect air barrier performance.

Coordinate installation of air barrier with completion of roofing, below grade, factory applied air barrier portion to site fluid-applied membrane portion and other work requiring interface with air barrier.

Schedule work for inspection of air barrier applications prior to concealment.

Ensure ABs are cured before covering with other materials.

WARRANTY

When warranties are required, verify with Owner's counsel that warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Manufacturer's Warranty for Air- and Water-Resistive Barrier System: See manufacturer's published limited warranty.

Defects: the system installed or to be installed in such structure was, at the time of shipment from manufacturer, free from manufacturing defects that make it unsuitable for its intended use as a water-resistive and air barrier (WRB-AB) system which limited warranty shall have a duration of ten (10) years from the date of purchase of the product or, when the system is used as a substrate in architecturally specified drainable EIFS, twelve (12) years from the date of purchase of the product for installation; and

2. Exposure: the system, when properly installed in such structure, will not deteriorate or delaminate as a result of normal use conditions or as a result of exposure to normal weather conditions, or excessive humidity, for a period of twelve (12) months commencing on the date of installation of the system in such structure.

3. Drainage Plane: the system, when properly installed in such structure and when cladding systems are properly designed and installed to promote drainage, is suitable for use as a drainage plane, which limited warranty shall have a duration of ten (10) years from the date of purchase of the product or, when the system is used as a substrate in architecturally specified drainable EIFS, twelve (12) years from the date of purchase of the product for installation. The foregoing warranties apply only when the system has been subjected to normal weather and use conditions and has been accorded treatment which is considered good practice in the building industry regarding storage, handling, joint and opening treatment, and maintenance of such products. In addition to this limitation, any damage to the system resulting in whole or in part from the following conditions is NOT the manufacturer’s responsibility and is NOT covered by the foregoing warranties:

Failure to store, handle or install the system in accordance with manufacturer’s storage, handling and installation instructions, applicable building practices and all applicable building codes;

Improper design or installation of the system, or assembly, or any portion or component of the structure, or failure or distortion of the walls, foundation or any other portion or component of the structure, including settling of the building or movement of framing members, or failure to establish adequate drainage;

Suitability or performance, including failure to establish adequate drainage, of any cladding, coating, finishes, coverings or materials (other than the manufacturer’s approved tape or liquid flashing for the treatment of the joints, fasteners, openings, transitions and penetrations of the system) applied or attached to the system;

Causes other than normal weather and use conditions, such as: impact with objects; high force winds, earthquake, flood, fire or other acts of God or nature; sustained cascading or pooling of water, or immersion in water; or any other cause beyond GP’s control;

Mold, mildew, fungi, bacteria or other similar conditions;

Failure to purchase and install the system within twelve (12) months from its date of manufacture;

Use of the system other than for its intended use

A third-party’s actions, omissions or negligence

PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Deltek. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

MATERIALS

Source Limitations: Obtain fluid-applied flashing materials and air barrier accessories from single source from single manufacturer.

"VOC Content" Paragraph below applies to LEED 2009 NC, CI, and CS,IEQc 4.2.

LEED 2009 VOC content requirement for "architectural sealants" is 250 g/L or less while VOC content of "coatings" is 50 g/L or less, in accordance with 40 CFR 59, Subpart D (EPA Method 24).

VOC content requirements are applicable to air barrier flashing material.

VOC Content: [250] [50] g/L or less.

"VOC Content" and "Low-Emitting Materials" paragraphs below apply to LEED 2009 for Schools and LEED v4.

LEED v4 EQc "Low-Emitting Materials." Exterior-applied products for Healthcare and Schools. Adhesives, sealants, coatings, roofing, and waterproofing materials applied on-site must meet the VOC limits of California Air Resources Board (CARB) 2007 Suggested Control Measure for SCAQMD Rule 1168, effective July 1, 2005. Small containers of adhesives and sealants subject to state or Federal consumer product VOC regulations are exempt.

Projects outside the United States and Canada may use either the jurisdictional VOC content requirements or comply with the European Decopaint Directive (2004/42/EC, to be updated to most current version when available) Phase II, for waterborne coatings, as analyzed in accordance with ISO 11890 Parts 1 and 2, instead of CARB and SCAQMD regulatory standards.

VOC Content: 100 g/L or less.

Low-Emitting Materials: Fluid-applied flashing and accessories shall comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

PERFORMANCE REQUIREMENTS

Air- and Water-Resistive Performance: Air- and water-resistive board assembly and seals with adjacent construction shall be capable of performing as a continuous air barrier system and as a water-resistive barrier flashed to direct incidental water to wall exterior, and interface with adjacent building air barrier system components.

Air- and Water-Resistive Board Assemblies: Capable of accommodating substrate movement and of sealing substrate expansion and control joints, construction material changes, penetrations and transitions at perimeter conditions without deterioration, and air-leakage exceeding specified limits.

Air Permeance of Sheathing: Maximum 0.004 cfm/sq. ft. (0.02 L/s/sq. m) of surface area at 1.57 lbf/sq. ft. (75 Pa), when tested in accordance with ASTM E2178.

Generally, retain "Air- and Water-Resistive Board Assembly Air Leakage" Paragraph below. Air-leakage value below is maximum permitted by the IBC, IECC, and ABAA. See the Evaluations.

Air- and Water-Resistive Board Assembly Air Leakage: Maximum 0.04 cfm/sq. ft. (0.2 L/s x sq. m) of surface area at 1.57 lbf/sq. ft. (75 Pa), when tested in accordance with ASTM E2357.

Retain "Water Penetration under Static Pressure" Paragraph below for static-pressure method.

Water Penetration under Static Pressure: Test in accordance with ASTM E331, as follows:

No evidence of water penetration through air barrier board assembly when tested in accordance with a minimum static-air-pressure differential of 20 percent of positive wind-load design pressure, but not less than 2.86 lbf/sq. ft. (137 Pa).

When designing the permeability layers of the exterior envelope, note that air- and water-resistive sheathing board systems on the market have markedly different system perm ratings ranging from 0.5 to 25 perms (28.7 to 1436 ng/Pa x s x sq. m). Georgia-Pacific's/PROSOCO's "DensElement Barrier System" rating is 25 perms (1436 ng/Pa x s x sq. m) or higher.

Water Vapor Permeance; Panel Assembly: 25 perms (1436 ng/Pa x s x sq. m) or more as tested in accordance with ASTM E96/E96M, Procedure B.

Retain "Fire-Resistance-Rated Assemblies" Paragraph below where air- and water-resistive board is part of fire-resistance-rated assemblies. Indicate design designations of specific assemblies on Drawings.

Fire-Resistance-Rated Assemblies: For fire-resistance-rated assemblies, provide materials and construction identical to those tested in assembly indicated in accordance with ASTM E119 by a qualified testing agency.

Surface-Burning Characteristics: Comply with ASTM E84; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Flame-Spread Index: 25 or less.

Smoke-Developed Index: 450 or less.

Retain "Fire Propagation Characteristics" Paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings. Consult PROSOCO representative for details of tested systems.

Fire Propagation Characteristics: Provide air- and water-resistive board assembly qualified as a component of a comparable wall assembly that has been tested or engineered to pass NFPA 285.

WALL SHEATHING

Air- and Water-Resistive Sheathing Board: ASTM C1177/C1177M, glass-mat-faced gypsum sheathing board.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

"DensElement Barrier System" is a combination of Georgia-Pacific's "DensElement" sheathing and PROSOCO's "FastFlash Fluid-Applied Flashing."

Basis-of-Design Product: Subject to compliance with requirements, provide Georgia-Pacific Gypsum LLC; DensElement Barrier System or comparable product by one of the following:

<Insert manufacturer's name>.

Board Thickness: 5/8 inch (15.9 mm) thick.

Board Type: Type X.

SI (metric) module dimensions are not readily obtainable; verify availability by special order with manufacturer.

Boards 48 inches (1219 mm) or 1200 mm wide can be installed horizontally but are usually installed vertically; edges must be protected by a WRB or must be sealed.

Board Size: 48 by 96 inches (1219 by 2438 mm) for vertical and horizontal installations.

Air- and Water-Resistive Flashing Thickness: Minimum 16 mil (0.41 mm) wet film thickness.

Physical and Performance Properties:

Air Permeance; ASTM E2178: Maximum 0.004 cfm/sq. ft. (0.02 L/s x sq. m) of surface area at 1.57 lbf/sq. ft. (75 Pa) pressure difference.

Water Vapor Permeance: 25 perms (1436 ng/Pa x s x sq. m) or more when tested in accordance with ASTM E96/E96M, Procedure B.

Combustion Characteristics; ASTM E84: Class A.

Board Product Antifungal Properties; ASTM D3273: 10; zero defacement.

VOC Content - Fluid-Applied Flashing: 50 g/L or less.

UV and Weathering Resistance: Maximum 12-month exposure.

AIR BARRIER ACCESSORY MATERIALS

General: Provide compatible air barrier accessory materials furnished or in accordance with air barrier manufacturer's written instructions as required by Project conditions to produce a complete air barrier assembly identical to tested assemblies meeting performance requirements.

Joint Backing: See Section 079200 "Joint Sealants" for backing materials.

Primer: Liquid primer in accordance with air barrier manufacturer's written instructions for exposed gypsum core edges.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product.

Basis-of-Design Product: Subject to compliance with requirements, provide PROSOCO, Inc.; PorousPrep Sealer.

Color: Blue.

Fluid-Applied Air Barrier Flashing: Site-applied for application to joints, fasteners, penetrations, openings, and material transitions.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product.

Basis-of-Design Product: Subject to compliance with requirements, provide Georgia-Pacific Gypsum LLC; DensDefy Liquid Flashing.

Color: Gold.

Flashing and Transition Strip: self-adhered membrane, 25 mils (0.64 mm) thick.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product.

Basis-of-Design Product: Subject to compliance with requirements, provide Georgia-Pacific Gypsum LLC; DensDefy Transition Membrane.

FASTENERS

Screws for Fastening Board Product Air Barriers to Cold-Formed Metal Framing: Steel drill screws, ASTM C1002, in length in accordance with sheathing manufacturer's written instructions for sheathing thickness.

Screws for Fastening Board Product Air Barriers to Wood Framing: Wood screws, ASTM C1002, in length in accordance with sheathing manufacturer's written instructions for sheathing thickness.

EXECUTION

EXAMINATION

Examine framing to determine if work is ready to receive board product air barriers.

Verify that surface flatness tolerances and framing spacing comply with Project requirements.

Verify that adequate support is provided for sheathing board edges.

Proceed with work once conditions comply with manufacturer's written instructions.

Adjacent Substrate Examination: Prior to installation of accessory materials, examine adjacent substrates to receive transition treatment.

Verify that substrates are sound and free of contaminants, adequately cured or aged, compatible with proposed transition materials, and free of obstructions or impediments that would result in failure of transition adhesion and failure of air barrier assembly to perform in accordance with Project requirements.

Verify that concrete and masonry surfaces are visibly dry, cured, and free from release agents, curing agents, and other contaminates.

Test for capillary moisture by plastic sheet method in accordance with ASTM D4263.

Verify that masonry joints are filled with mortar and struck flush.

Proceed with installation once conditions comply with manufacturer's written instructions and only after unsatisfactory conditions have been corrected.

PREPARATION

Clean, prepare, and treat portions of work not requiring sheathing board substrate in accordance with air barrier manufacturer's written instructions.

Mask adjacent finished surfaces.

Remove contaminants and film-forming coatings from substrates.

Remove projections and excess materials; fill voids with substrate patching material.

Prepare and treat joints and cracks in substrate in accordance with air barrier manufacturer's written instructions.

Joints: Seal all sheathing joints with fluid-applied flashing approved by sheathing manufacturer.  Fill gaps 1/4 inch (6.4 mm) or greater with backer rod prior to applying fluid-applied flashing.

INSTALLATION OF AIR- AND WATER-RESISTIVE SHEATHING BOARDS

Discard each air- and water-resistive sheathing board with damage that compromises continuity or impairs performance as an air barrier, and is unable to be repaired in accordance with manufacturer's written repair instructions.

Do not use materials with defects that impair quality of sheathing or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

Comply with ASTM C1280, GA-253, and manufacturer's written instructions.

Fasten sheathing boards to [wood] [cold-formed metal] framing with specified screws in pattern indicated.

Install sheathing boards with a 1/4-inch (6.4-mm) gap where they abut masonry or similar materials that might retain and transmit moisture to them.

Cut sheathing boards at penetrations, edges, and other obstructions of work to allow for application of air barrier accessory materials. Fit sheathing boards closely against abutting construction.

Install sheathing boards with long dimension perpendicular or parallel to framing. Abut ends and edges of sheathing boards centered over face of framing members. Offset sheathing boards joints by not less than one stud spacing.

Apply sheathing boards in pieces sized to provide minimum number of joints and optimum sheathing board arrangement. Arrange joints so that pieces do not span between fewer than three support members.

Do not bridge building expansion joints; cut and space edges of sheathing boards to match spacing of structural support elements.

Space fasteners maximum 8 inches (203 mm) o.c. and set back a minimum of 3/8 inch (9.5 mm) from edges and ends of sheathing boards and as required in indicated fire-resistance-rated designs.

Apply fasteners with heads flush to board product air barrier membrane surface without breaking or punching through the surface.

Treat all sheathing fasteners specified fluid-applied flashing used for sealing joints, a minimum of 16 mils thick.

Securely attach sheathing boards to substrate by fastening as indicated, complying with the following:

Retain one of first two subparagraphs below to comply with requirements of Project and local codes.

Table 2304.9.1, "Fastening Schedule," in the IBC.

Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in the ICC's International Residential Code for One- and Two-Family Dwellings.

ICC-ES evaluation report for fastener.

Retain first subparagraph below if using wood framing. Revise to indicate other kinds of nails if required.

Use common galvanized wire nails. Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials. Make tight connections. Install fasteners without splitting wood.

Retain subparagraph below if using steel stud framing. Revise to indicate other kinds of screw fasteners if required.

Use corrosion-resistant sheet metal screw fasteners. Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials. Make tight connections.

Coordinate wall sheathing boards installation with flashing and air barrier accessory material installation so these materials are installed in sequence and manner that prevent exterior moisture from passing through completed assembly.

INSTALLATION OF SITE FLUID-APPLIED AIR BARRIER FLASHING

General: Apply site fluid-applied AB at joints, fasteners, penetrations, openings, and material transitions to achieve a continuous air barrier in accordance with air barrier manufacturer's written instructions. Apply site fluid-applied AB in accordance with manufacturer's written instructions for application temperature ranges.

Apply self-adhered flashing material in full contact with substrate to produce a continuous seal in accordance with air barrier manufacturer's written instructions.

          - Vapor-Permeable Air Barrier: Total wet film thickness in accordance with manufacturer's written instructions to meet performance requirements, but not less than 16 mil (0.41 mm) wet film thickness, applied in one or more equal coats by roller, spray, trowel, or knife.

Do not cover air barrier until it has been tested and inspected by Owner's testing agency.

Correct deficiencies in or remove air barrier that does not comply with requirements; repair substrates and reapply air barrier components.

INSTALLATION OF AIR BARRIER ACCESSORY MATERIALS

General: Install accessory materials in accordance with air barrier manufacturer's written instructions and AAMA 714. Install AB to adjacent components of building air barrier system, including, but not limited to, roofing system air barrier, exterior fenestration systems, door framing, and other openings.

Apply primer in accordance with manufacturer's written installation instructions.

Seal punctures, voids, and seams. Patch with fluid-applied flashing extending 1 inch (25.4 mm) beyond repaired areas.

Seal wall penetrations in accordance with manufacturer's written instructions.

Connect and seal exterior wall air barrier continuously to subsequently installed roofing-membrane air barrier, concrete below-grade structures, floor-to-floor construction, exterior glazing and window systems, glazed curtain-wall systems, storefront systems, exterior louvers, exterior door framing, and other construction used in exterior wall openings, using accessory materials.

Retain "Wall Openings Transition Assembly Installation" Paragraph below when using Tremco's "ETA" assembly at aluminum-framed wall openings; coordinate with requirements in corresponding Division 08 openings Sections.

Wall Openings Transition Assembly Installation: Apply opening transition assembly so that a minimum of 2 inches (51 mm) of coverage is achieved over adjacent sheathing board substrate.

Apply in accordance with window manufacturer's written instructions for silicone joint sealant bedding bead to aluminum frame and mechanically attach transition assembly aluminum race to aluminum frame.

Embed transition assembly in continuous application of fluid-applied flashing on sheathing board surface.

Rough Openings: Apply bead of fluid-applied flashing to inside corners first, followed by application to jambs, header, sill, and adjacent sheathing.

Flashings: Seal top of through-wall flashings to air barrier with fluid-applied flashing.

FIELD QUALITY CONTROL

Testing Agency: Owner may engage a qualified testing agency to perform tests and inspections.

Inspections: ABs, accessories, and installation are subject to inspection for compliance with requirements and photograph documentation of conditions to be concealed by subsequent Work.

Tests: As determined by Owner's testing agency from among the following tests:

Qualitative Air-Leakage Testing: Test air barrier assemblies for air leakage in accordance with ASTM E1186, smoke pencil with pressurization or depressurization or ASTM E1186, chamber pressurization or depressurization with smoke tracers.

Retain "Quantitative Air-Leakage Testing" Subparagraph below if testing to quantify air-leakage rate is required.

Quantitative Air-Leakage Testing: Test air barrier assemblies for air leakage in accordance with ASTM E783.

Retain "Testing" Subparagraph below if wall air barrier testing is described in Division 01 performance requirements or envelope commissioning Section; revise to suit Project.

Testing: See [Section 019113 "General Commissioning Requirements"] [Section 019119.43 "Exterior Enclosure Commissioning"] for additional testing and inspection requirements.

Air- and water-resistive barrier will be considered defective if it does not pass tests and inspections.

Prepare test and inspection reports.

CLEANING AND PROTECTING

Clean spills, stains, and overspray resulting application using cleaning agents recommended by manufacturers of affected construction. Remove masking materials.

Protect air barrier from damage from subsequent work. Protect materials from exposure to UV light for period in excess of that acceptable to air barrier manufacturer; replace overexposed materials and retest.

END OF SECTION 061656